## Slide 1
Humidity for a better life
Stephanie Taylor, MD, M. Arch

## Slide 2
Hello!
Research
Massachusetts General Hospital Infection Control
Harvard Medical InCite Health Fellow
ASHRAE
Distinguished Lecturer
Epidemic Task Force
Environmental Health Committee
Presidential Award Winner
Building4Health
CEO and Founder
Stephanie Taylor, M.D., M Arch.
& Luigi

## Slide 3: Acknowledgements
M. Colin Tasi, MD, MBA: Massachusetts General Hospital, Brigham & Women’s Hospital, Harvard Emergency Medicine Program
Stan Finkelstein, MD: Harvard Medical School, Massachusetts Institute of Technology for Data, Systems & Society
Lisa Robinson, MPP: Harvard T.C. Chan School of Public Health, Center for Health Decision Science
John Levy , PhD: Boston University School of Public Health, Department of Environmental Health
Building4Health: Peter Taylor, Olivia Saber, Yaron Yaniv, Francis Caruccio, Gene Lochart, Oliver Zimmermann
Condair Group

## Slide 4: Today’s Discussion
How did we get here? Where did this rogue, species–jumping virus come from?
Understanding the powerful role of RH in health and disease
We have essential work to do, and no time to waste!
1.
2.
3.

## Slide 5: I was not [that] surprised by this pandemic! Were you?
2017

## Slide 6
There are three components to infectious diseases
2. The host (the human):
inherited (genetic) factors
behavior (exercise, sleep, weight, etc.)
immune system function
1. The agent (pathogen, particle, gas, etc.):
pathogen infectivity
ability to penetration vulnerable tissues
“collateral damage” disease
3. The environment:
exposure to 1◦ and 2◦ compounds
temp, RH
transmission routes, microbiome, etc.

## Slide 7
Building Management
  Reduce energy use
  Avoid disasters
  Follow best practices and codes
Medical Care
  Heal patients
  Follow clinical protocols
  Avoid lawsuits
Occupant Health is key to building management
We are all here to unite these fields
Notes: Worse case you’ll need to invest in a retro HVAC but most cases you don’t need to do anything large.
Sam and Zane to speak to it to be the exception and the rules.
Sam presenting on why it’s important and his experience with not having the data to understand what or even if a remediation measure would need to be implemented. Test before you Invest! Hand off to Zane to speak about the DS process and how they would partner with B4H if there’s less than optimal air quality readings.

## Slide 8
A closer look at our indoor environment

## Slide 9: Human habitats before the Neolithic Revolution
Diverse microbial populations in soil, water and air
Human microbiome: gut, respiratory system, skin and mucosal surfaces support 100 trillion microbes that are mostly good for us
1. The “agent”
2. The host
3. The environment
Balanced temperature and water vapor result in mid range RH

## Slide 10: Fitness mapping of stable viral and human coexistence
Viruses
Humans
Viruses would need to overcome significant genetic and immune barriers to jump from non-human to human hosts
Healthy situation

## Slide 11
Non-diverse building microbiome with many infectious pathogens
Restricted human microbiome, impaired immunity
Warm, dry, “disinfected” human-dominated environment
1. The agent
1. The host
3. The environment

## Slide 12: Low barriers for a species-switching virus to cause a pandemic
In this situation, viruses can jump to another species much more easily
Microbes
Humans
Prelude to a pandemic

## Slide 13: Today’s Discussion
How did we get here? Where did this rogue, species–jumping virus come from?
Understanding the powerful role of RH in health and disease
We have essential work to do, and no time to waste!
1.
2.
3.

## Slide 14: Managing indoor environments for energy and health
Optimize occupant health
Optimize energy savings

## Slide 15
IEQ & Human Immunity
1
2
IAQ impacts the host’s ability to defend against pathogens, regardless of the surface cleanliness of the building:
Dry air reduces respiratory immune defenses
Ozone, NO2 and other gases are inflammatory and increase tissue vulnerability to penetration
IAQ impacts systemic inflammation and associated diseases:
cardiovascular disease
clotting disorders
allergies and autoimmunity

## Slide 16
Inhaled ozone (O3), and nitrogen dioxide (NO2) induce loosening of inter-cellular junctions
3
work with Dr. Huttunen, E. Finland Univ.
IEQ & Humans Tissues

## Slide 17
Penetration of harmful particles and gases into our bodies via inhalation and skin is exacerbated by RH <40
The membrane surrounding our cells can be breached
NO2, SO2, carbon dioxide, carbon monoxide, particles, ozone, radon, volatile organic compounds
Indoor pollutants interact
Causing serious illnesses in multiple organ systems
Notes: Mucosal membranes are also an important level of defense against bacteria, viruses, particles, and organic and inorganic compounds.
Optimizing the function of these membranes increases the body’s ability to stay healthy.

## Slide 18
“Low ambient humidity impairs barrier function and innate resistance against influenza infection”
Eriko Kudo, Eric Song, Laura Yockey, Tasfia Rakib, Patrick Wong, Robert Homer, Akiko Iwasaki
Proceedings of the National Academy of Sciences, USA. May 19, 2019
Landmark study at Yale

## Slide 19
Temp = 20oC
Mx1 mice have functional
Type I IFN responses
MX1
Chamber conditions
20%RH
3g/m3 AH
50%RH
9g/m3 AH
or
Intranasal
Influenza
Challenge
Precondition: 5 days
Remove from chamber
Post-infection: 7 days
*
*
Study setup

## Slide 20
Improved muco-ciliary clearance
Enhanced protection induced by Interferon
Decreased inflammation and tissue damage
Enhanced tissue
repair
Innate respiratory immunity was optimal at 50% RH, and impaired at RH 20%

## Slide 21: We have wrongly given (most) microbes a bad reputation
Historical (and Incorrect) Approach to Hygiene
“All microbes are bad germs that require total eradication."
In fact, only a small percentage of microbes are disease causing pathogens.
“Good microbes are essential to our health.”
Overzealous disinfection can result in takeover by pathogens.
Modern (and Correct) Approach to Hygiene
Good microbes actually help prevent disease!
IEQ & Indoor Microbiome

## Slide 22: Today’s Discussion
How did we get here? Where did this rogue, species–jumping virus come from?
Understanding the powerful role of RH in health and disease
We have essential work to do, and no time to waste!
1.
2.
3.

## Slide 23: Moving from science to implementation
Starting here

## Slide 24
11 indoor metrics and secondary compounds formed through interactive indoor chemistry have quantifiable physiological impact on occupant:
Identify the essential IAQ metrics needed to assess health
  Brain function and productivity
  Short and long-term respiratory health
  Heart function
  Strokes, diabetes, and more

## Slide 25: Follow the Data… Continuously Monitor and Measure
Continuously monitor:
  Temp, RH
  Particles (PM1.0, PM 2.5, PM 10)
  Total volatile organic compounds
  Gases: O3, CO, CO2, NO2, SO2
Notes: The importance of continuous monitoring:
  A one-time assessment of IAQ does not account for:
    Interactions of different metrics
    Changes in use – one of the biggest factors is humans, they shed microbes etc.
    Seasonal changes
  Know the health impact of your indoor spaces in real time – not a one-time assessment that may or may not be accurate

## Slide 26
Do NOT dump all this data on the building manager!

## Slide 27
Compile the results and deliver meaningful and actionable data!
Health Score
Immune
System
Inflam.
Neuro-endocrine
Micro-
biome
CONSEQUENCES
RH
TEMP
PM 1.0
PM 10
TVOCs
CO
CO2
NO2
SO2
O3
PM 2.5
HIDDEN LAYERS & INTERRELATIONSHIPS
RH
TEMP
PM 1.0
PM 2.5
PM 10
TVOCs
O3
CO
CO2
NO2
SO2

## Slide 28
Examples of reactions that create secondary compounds that influence occupant health and are modulated by water vapor
Oxidation, hydrolysis, acid/base interactions, photolysis, decomposition, and dehalogenation reactions that form:
short-lived radical species
secondary ozonides
oxygenated VOCs
secondary organic aerosols
For example, inhaled compounds that are water soluble impact the upper respiratory tract, whereas less soluble compounds are more likely to infiltrate into the systemic circulation.

## Slide 29: Remediation options and flexibility
RH
TEMP
PM 1.0
PM 10
TVOCs
CO
CO2
NO2
SO2
O3
PM 2.5
RH
TEMP
PM 1.0
PM 10
TVOCs
CO
CO2
NO2
SO2
O3
PM 2.5
RH
TEMP
PM 1.0
PM 10
TVOCs
CO
CO2
NO2
SO2
O3
PM 2.5
This interrelation allows for both flexibility and precision in where and when remediation is needed. This means a clearer idea of what is needed, and fewer expensive and high-energy fixes.
RH
TEMP
PM 1.0
PM 10
TVOCs
CO
CO2
NO2
SO2
O3
PM 2.5
Why It Matters

## Slide 30: Real-time health score and, if needed, remediation steps are recommended
The comprehensive Health Score and its components are reported in real-time
Interventions such as humidity control, increased ventilation or filtration, etc. are monitored and reported for efficacy
Notes: You can see scores for both:
  The areas covered by each sensor
  The building as a whole
The centralized number keeps you from chasing your tail – instead of trying to figure out the different levels of each indoor air pollutant and derive the impact for yourself, we will tell you in real time how your indoor environment is harming or supporting the health of your residents

## Slide 31
Keeping indoor RH 40–60% decreases health influence from other indoor pollutants
RH 40-60
RH < 40
RH > 60
(Good)
(Bad)
Health Impact Score

## Slide 32
Humidification turned on
PM2.5
Total VOCs
Indoor concentrations
Bad
Good
Humidification reduced particles and VOC’s within 15 minutes

## Slide 33
Summary of B4H.Dx Scores over two weeks at Condair Pfaffikon, SZ
Health Index B4H.Dx scores are excellent, all above 70
Relative Humidity (RH) is consistently excellent, with only a few hourly dips below 40%, with a low of approx. 35%
There is variability with indoor conditions detected by several sensors (details in following slides)
The indoor conditions are well modulated by RH, as evidenced by outdoor fluctuations without indoor changes
As outdoor weather changes, the confirmation of indoor conditions that support health should be confirmed by ongoing monitoring and B4H.Dx score reporting throughout the changing seasons

## Slide 34
April 7: Health Scores in all areas are excellent
Note: times are in EST
B4H.Dx
100
80

## Slide 35
April 15 holiday
Note: times are in EST
B4H.Dx
100
80

## Slide 36
Communicable respiratory illness costs the workforce over $225 billion per year due to absenteeism and decreased worker satisfaction and productivity.1
Properly managed indoor air can:
Increase occupant function & productivity
Attract and retain tenant talent
Differentiate buildings in low occupancy, competitive markets
Optimized indoor environments improve resident outcomes by decreasing acute illnesses requiring transfers to hospitals, improving patient memory and balance and decreasing mortality rates.3
Properly managed indoor air can:
Improve resident health and function
Build brand equity via health content and education
Differentiate your brand via proactive health protocol
Poor IAQ reduces individual student grades by 3-7% and lowers the number of students performing in the highest standardized test categories in both math and reading by 3-4%.2
Properly managed indoor air can:
Enhance learning via improved cognitive functioning e.g. concentration, memory, energy level, hand-eye coordination
Decrease absenteeism
Improve test scores
Healthy occupants create positive economic returns in every type of building
Commercial Businesses
Schools
Senior Care

## Slide 37
Old Habits Die Hard!
1. Energy focus will be challenged.
2. Building owners resist capital costs.
3. Will health related IAQ data open the door to litigation risks?

## Slide 38: COVID-19 has ushered in a new dawn, let us not waste this opportunity
Our job:
Understand that humidification control mitigates harm not only from excessive evaporation, but also from other indoor pollutants such as particles and gases
Continue research, bring awareness through established channels, establish a minimun RH level of 40%
  CONDAIR Network
  ASHRAE committees and Distinguished Lecturer program
  RHEVA, Leapfrog Hospital Safety, Mayo Clinical Proceedings
  B4H, National Science Foundation Innovation Engine grant

## Slide 39: Conclusions
By giving visibility to the health impact of the indoor environment, we have a scientific basis for managing IAQ to support occupant health, productivity and learning
By knowing the interactive chemistry, attainable remediation can diminish the harm of interacting indoor pollutants
Humidification to RH 40–60 is a foundational step in supporting health
Healthy people increase the profitability of businesses and the success of our species